Molecule to Organism Biology for Week 6

Comparison of DNA Molecules by Gel Electrophoresis

Goals: Work with DNA and DNA modification enzymes, Separate DNA by size using agarose gel electrophoresis, Think about repetitive sequences.

NOTE-SOME VOLUMES (X, Y, ETC.) ARE NOT YET SPECIFIED. WE WILL UPDATE YOU WITH THE CORRECT VOLUMES AT THE START OF THE LAB.

In today’s lab we will compare DNA samples from two sources. One set will be the segments of human DNA amplified by the PCR reaction already completed. A second set will be obtained by cutting the Tenebrio DNA with restriction enzymes, and then examining the number and size of fragments that are produced.

Restriction enzymes are produced by bacteria and for the bacteria serve the role of preventing foreign DNA and virus sequences from surviving in the cell. These are endonucleases, meaning they cut both strands of DNA at some location other than the end. (The counterpart to this would be an exonuclease, which would digest a DNA molecule starting from an already cut end.) The value of many restriction enzymes is that they cut at specific base sequences and nowhere else. These recognition sites are usually palindromes and can be from 4 to 15 bases in length. The two enzymes we will use today are EcoRI (Escherichia coli strain R, first (I) enzyme isolated) and HindIII (Haemophilus influenza rd, third (III) enzyme isolated.

EcoRI cuts (indicated by the arrow) at the sequence G(AATTC while HindIII cuts at the sequence A(AGCTT. For these examples, draw the complementary DNA stand and indicate the cut on that strand as well. A very useful source for restriction enzyme information is provided by New England Biolabs (http://www.neb.com/nebecomm/EnzymeFinder.asp)

Because the number and position of these recognition sites vary for different DNA molecules, fragmenting molecules using these enzymes often produces a characteristic collection of DNA fragments of specific lengths. A molecular difference between different individuals or species is called a polymorphism (“many shapes”).

To determine the number and lengths of the product DNA fragments, we will use agarose gel electrophoresis. At normal pH values, DNA molecules carry a large number of negative charges- they are polyanions. If the DNA molecules are placed in an electric field, opposite charges attract so the DNA will move towards the positive electrode and away from the negative electrode. This technique of separating molecules by their movement in an electric field is called electrophoresis. Since the number of negative charges on a DNA molecule increases in proportion to its mass, the acceleration on all molecules is roughly the same.

To help prevent the molecules from moving, this separation is done in a porous gel. Agarose is a highly purified carbohydrate obtained from kelp. A 1-2% mixture of agarose creates an easy to handle gel. As the DNA molecule are moved through this gel, the smaller molecules pass more quickly while the larger molecules become hung up on the gel and move more slowly. By combining the driving force of the electric field with the varying drag of the agarose gel, a mixture of DNA fragments will separate out by size with the smaller molecules moving the most quickly and the larger molecules moving more slowly. As a rough approximation, a plot of distance moved (x-axis) versus log [molecular weight] (y-axis) produces a close to linear line.

To help identify the sizes of the fragments, two standards will be included with our experimental samples on the gel. By using the known fragments provided by these standards, you can calibrate your agarose gel and prepare a reasonable size estimate of the DNA fragments produced in your enzyme digestions and by your PCR reaction.

Advice Many restriction enzymes do not last very long in warm conditions. You should develop the habit of keeping them as cold as possible and minimize their exposure to high temperatures. Use a beaker as an ice bucket and keep enzyme solutions in this until needed. We will have an agarose gel for you to practice loading technique before you use your real samples.

SAFETY: Ethidium bromide is a mutagen. Always wear gloves when handling any material containing ethidium bromide and dispose of it in the proper location. Any gloves worn when handling ethidium solutions should also go in the designated waste. Any person in the same room as the UV light should wear UV-filtering eye protection any time the light source is on. Not all safety glasses are approved for UV protection. Check the label on yours or use one of the pairs of goggles provided. Know what you are doing when working with the power sources.

Procedure:

Digest DNA samples:

- Label reaction tubes.  Each pair will do 4 enzyme reactions-both the mealworm DNA you isolated as well as additional provided DNA, and each DNA sample will be reacted separately with EcoRI and HindIII. Place the labeled tubes on ice.

- Using a clean tip for each sample, transfer X (l DNA of each sample into the appropriate tube.

- Obtain the small tubes of the enzyme mixes. These contain restriction enzyme and a buffer mix that adjusts the pH and salt concentration to the correct level for these enzymes. THESE SHOULD ALWAYS BE KEPT ON ICE.

- Using a fresh pipette tip for each sample, transfer Z (l of the enzyme solution to each of the DNA samples. If you feel there is any chance of a tip being contaminated or touching the wrong solution, replace the tip. NOTEBOOK CONTENT: A table describing the contents of each tube is handy here. It also helps to check off the additions to each tube as they are made.

- Close the tops and mix the sample. Either flick the bottom with your finger several times, or briefly run the sample in a microcentrifuge. (We will indicate options in the lab.)

- Incubate the samples at 37( for 1 hour. During this incubation period, you should familiarize yourself with the electrophoresis apparatus, pour your agarose gel, and practice loading samples. When the time period is up, stop the reaction by adding loading buffer (step 2 in electrophoresis directions) and putting your sample on ice.

Electrophoresis of samples:

- We will demonstrate how to pour an agarose gel for you to use in this lab. (The gel consists of 2% agarose in 1X TAE buffer (formula given below). This mixture was heated until clear and all agarose was dissolved, and mixture has been kept in the oven to stay liquid until needed.  Use the 8 well comb when pouring your gel.

- Using a clean tip for each of your samples, add 5(l of loading dye to each restriction digest tube. Prepare your PCR tubes by adding 5 μl of loading dye to each PCR tube. BE SURE NOT TO CONFUSE THE SIZE STANDARDS WITH THE LOADING DYE. Mix the loading dye and your sample. You will also need to use the two size standards. NOTE-STEPS 3 AND 4 BELOW CAN BE BEFORE THIS STEP.

- Place the agarose gel in the gel box. The well in which the samples will be loaded should be at the (-) end of the box, where the black lead is connected.

- Pour electrophoresis buffer (premade: 1X TAE: 40 mM Tris-acetate (a buffer) and 1mM EDTA (a metal binder), pH 8.2-8.4) into the box until it just covers the agarose.

- You will use SOME lanes of the gel. The convention is to think of the start of the gel as the top and number lanes from left to right. As demonstrated and practiced, load 10 (l of one of standard markers in lane 1, and then load 20 (l of your digested samples with loading buffer to lanes subsequent lanes. Then load the DNA PCR samples for both members of the group. Also load the second size standard. Combined, this should create 8 samples to be run. Be sure you know which sample goes in which lane!

- After loading, secure the lid on the box and connect the electrical leads to the power supply. Be sure the polarity is correct – DNA will move from the (-) end of the box to the (+) end of the box.

- Run the gel. Set the voltage at 100 V and run for 30-40 minutes. Keep an eye on the dye markers as a measure of progress. When the most rapid moving dye nears the end of the agarose is a good time to end the run.

- When the electrophoresis is finished, turn off the power supply and remove the lid to the gel box. Lift up the try under your gel and gently slide it into a staining container. Gels can also be wrapped in plastic wrap for short-term storage.

Visualizing your DNA

After running your gel, you will be able to see the dye markers but not your DNA samples.

- Slide your gel into the prepared solution of the dye ethidium bromide (CAUTION) and soak the gel for 10 minutes

- Move the gel from the ethidium bromide solution into the designated water solution to rinse for 10 minutes.

- After rinsing, the soaked gel will be placed on a UV (CAUTION) light source. The DNA-ethidium bromide complex is fluorescent and you will be able to see the bands when exposed to UV light. Using the Digital camera, take a picture of your gel showing the bands. You may wish to lay a ruler alongside your gel while taking this picture. The file containing the digital photo will be saved to the Instrument_Data folder on the M2O Masu account in the CAL.

Analyzing your Data

You can determine the number of bands and their intensities by direct observation of the gel or the photo. To estimate the size of the DNA fragments, prepare a calibration curve using your standards. Measure the distance each band (center) has moved from edge of its loading slot. The sizes of the fragments in this standard are in the appendix. Prepare a graph in which the x axis is distance the band has moved and the y axis is the log of fragment size (a semi-log plot.) This can be done on Excel or by use of semilog paper.

Measure the distance each of your experimental bands has moved and use your standard curve to estimate the size of each. Prepare a summary table in which all fragments for each sample are listed with their sizes.

- How many bands, of what sizes, were produced in your PCR reaction? We would like to collect this data for the entire lab.

- Do the EcoRI and HindIII digestions of Tenebrio DNA look the same? Are there any characteristic or very abundant size fragments produced?

Clean Up

Ethidium bromide solutions and gels should be placed in a designated waste container. Components of the electrophoresis apparatus should be cleaned and well rinsed and returned to their container.

Appendix

DNA Standards: We are using two. The first is called, for convenience, a 100 bp ladder. This is made by ligating together 100 bp fragments of DNA to produce each size in 100 bp increments from 100 to 1000 bp. In addition, there is a band at 1200 and 1500 bp. To help orient the use, the 500 and 1000 bp bands are made twice as intense as the others.

The second marker is called a 1 kb ladder. Here, the idea is very similar but the designed increments are steps of 1000 bp. Pictures of the patterns produced by these standards can be seen at the New England Biolabs website.